26th Dec 2025

SESHASAYEE PAPER & BOARDS LIMITED

WATER DISTRUBUTION REPORT –Centre-wise Break-up

| Parameter | Monthly req. | Hourly avg |  |
| --- | --- | --- | --- |
|  | “000 M3 | M3/h |  |
| PULPING |  |  |  |
| UB Wood Pulp | 154 -168.5 | 215-230 |  |
| Bleached Wood Pulp | 103-112 | 143-156 |  |
| UB Bagasse Pulp | 12.5-15 | 17-21 |  |
| Bleached Bagasse Pulp | 15-18.5 | 21-26 |  |
| WPPS | 6-12 | 8-16 |  |
| BOILER |  |  |  |
| DM water -CPP | 22-27.5 | 30-38 |  |
| DM water-Recovery | 31 -36.5 | 43-50 |  |
| DM water-Others | 25-28.5 | 35-40 |  |
| Recovery Plant-Others | 63-65 | 87-90 |  |
| PAPER MACHINE |  |  |  |
| MF1 | 18.5-22.5 | 26-31 |  |
| MF2 | 24-28.5 | 33-40 |  |
| MG | 23-28 | 32-40 |  |
| Yankee | 4 | 6 |  |
| PMC5 | 54-56 | 75-77 |  |
| Coating | 0.6 |  |  |
| PCC | 7.5-8.5 | 11-12 |  |
| MISCELLANEOUS |  |  |  |
| WPPS | 6-12 | 8-16 |  |
| Staff Colony | 182-186 | 253-258 |  |
| Others | 20-25 | 28-35 |  |
| Total | 790-810 | 1100-1130 |  |
| = | 800,000 m3 | 1120 m3/h |  |

EE &DC										Dr Ram